UKRAINE MINISTRY OF SCIENCE AND EDUCATION,

YOUTH AND SPORT

State institution of higher education

NATIONAL MINING UNIVERSITY

Electro energy institute

European Technical Department

KHILOV V.S.

Study guides and checking tasks to practice session for the course

THEORETICAL FUNDAMENTALS OF ELECTRIC ENGINEERING

For students of the full-time and distance tuition forms for specialties 6.050702 electromechanics and 6.050701 electric

Part 2 of 3

Modulus 3, 4

THREE–PHASE CIRCUITS, POLYHARMONICAL VOLTAGES AND CURRENTS IN CIRCUIT, TRANSIENT ANALISIS OF A LINEAR CIRCUITS

Dnepropetrovsk

NMU

2012

Методичні вказівки й контрольні завдання з практичних занять з курсу “Теоретичні основи електротехніки” (частина 2,  розділи “Полігармонічні струми й напруги у електричних колах”, “Трифазні кола”,  “Перехідні процеси у лінійних електричних колах”) для студентів денної та заочній форм навчання за спеціальностями 6.050702 електромеханіка і 6.050701 електротехніка / В.С. Хілов – Дніпропетровськ: Державний вищий учбовий заклад “Національний гірничій університет”, 2011. – 100 с.

Автор: В.С. Хілов, доктор технічних наук, професор.

Затверджено методичною комісією з напряму підготовки 6.050702 Електромеханіка (протокол № 1-10/11 от 17.10.11) за поданням кафедри метрології та інформаційно-вимірювальних технологій (протокол № 4 от 16.05.11).

Відповідальний за випуск директор Інституту електроенергетики О.Б.Іванов, канд. техн. наук, проф.

Друкується у редакції автора.

Table of Contents PART 2, MODULUS 3, 4

|  | FOREWORD | 7 |
| --- | --- | --- |
| 1 | THE CALCULATION METHODS OF ELECTRIC THREE-PHASE CIRCUITS WITHIN HARMONIC VOLTAGES AND CURRENTS | 6 |
| 1.1 | Study guides as to the calculation of three-phase harmonic circuits |  |
| 1.2 | The calculation of the circuit parameters at the load gather in symmetrical delta connection | 9 |
| 1.3 | The circuit parameters calculation at the load gather in non-symmetrical Y-connection |  |
| 1.4 | The circuit parameters calculation at the load gather in non-symmetrical Y-connection as to three-wire and four-wire schemes | 11 |
| 1.5 | The circuit parameters calculation at the load gather in non-symmetrical Y-connection | 12 |
| 1.6 | The circuit parameters calculation at the load gather in non-symmetrical connection and when there are impedances in lines | 14 |
| 1.7 | The personal computative-graphic task “The calculation parameters of three-phase circuit at harmonic voltages and currents” | 22 |
| 1.8 | Questions for one's own checking as to the calculation methods of three-phase harmonic circuits | 25 |
| 2 | THE CALCULATION METHODS OF ELECTRIC SINGLE-PHASE AND THREE-PHASE CIRCUITS WITHIN NON-HARMONIC VOLTAGES AND CURRENTS | 29 |
| 2.1 | Study guides as to the calculation of single-phase non-harmonic circuits | 26 |
| 2.2 | Study guides as to the calculation of three-phase non-harmonic circuits | 26 |
| 2.2 | Study guides as to the calculation of three-phase non-harmonic circuits | 33 |
| 2.3 | The circuit parameters calculation of single-phase non-harmonic at resistance-capacitance in scheme | 35 |
| 2.4 | The single-phase non-harmonic circuit parameters calculation at series connection resistance-inductance-capacitance in scheme | 36 |
| 2.5 | The single-phase non-harmonic circuit parameters calculation at mixed connection resistance-inductance-capacitance in scheme | 37 |
| 2.6 | The three-phase non-harmonic circuit parameters calculation at the load gather in symmetrical Y-connection with the neutral wire | 41 |
| 2.7 | The three-phase non-harmonic circuit parameters calculation at the load gather in symmetrical delta-connection and when there are impedances in lines | 43 |
| 2.8 | Questions for one's own checking as to the calculation methods of single-phase circuits within non-harmonic voltages and currents | 46 |
| 3 | THE CALCULATION METHODS OF TRANSIENTS IN LINEAR CIRCUITS | 49 |
| 3.1 | Study guides as to the calculation of transients in linear circuits | 49 |
| 3.1 | The circuit parameters calculation of transients in branched resistance-inductance circuit | 56 |
| 3.2 | The circuit parameters calculation of transients at mixed connection in resistance-capacitance circuit | 85 |
| 3.3 | The circuit parameters calculation of transients at mixed connection in resistance- inductance-capacitance circuit | 62 |
| 3.4 | The circuit parameters calculation of transients at action in the circuit of power supply with the arbitrary form of output signal | 90 |
| 3.5 | The personal computative-graphic task “The calculation of transients in linear circuits” | 99 |
| 3.6 | Questions for one's own checking as to the calculation methods of transients in linear circuits | 87 |
|  | Appendixes |  |
|  | Appendix A. Fourier series of Functions with Periodicity 2π | 92 |
|  | Appendix В. A short table of Laplace transforms, in each case p is assumed to be sufficiently large that the transform exists. | 94 |
|  | BIBLIOGRAPHY | 95 |