MINISTRY OF STATE EDUCATION AND CSIENCE UKRAINE

NATIONAL MINING UNIVERSITY

Electro energy institute

European Technical Department

.

KHILOV V.S.

Summary lections of

FUNDAMENTIALS OF THE ELECTROTECHNICS THEORY

For the students electromechanical and For the students electromechanical

Part 1 of 3

Module 1

BASIC THEORY OF THE DC AND AC ELECTRIC CIRCUIT

Dnipropetrovsk

NMU

2010

Конспект лекцій з дисципліни “Теоретичні основи електротехніки” (частина 1, модуль 1, “Основи теорії електричних кіл постійного і змінного струмів“) для студентів за напрямами підготовки 6.050702 Електромеханіка, 6.050701  Електротехніка та електротехнології / В.С. Хілов. – Д: Національний гірничий університет, 2010. – 100 с.

Автор: В.С. Хілов, канд. техн. наук, доц.

Затверджено методичною комісією з напряму підготовки 6.050702 Електромеханіка (протокол № 1-10/09 від 17.10.09) за поданням кафедри метрології та інформаційно-вимірювальних технологій (протокол № 4 від 16.05.09).

Відповідальний за випуск директор Інституту електроенергетики О.Б. Іванов, канд. техн. Наук, проф.

Друкується у редакції автора.

Table of Contents PART 1

|  | FOREWORD | 5 |  |
| --- | --- | --- | --- |
|  | PREFACE | 6 |  |
|  | BRIEF HISTORY OF ELECTRICAL ENGINEERING | 7 |  |
|  | OVERVIEW OF CONTENS | 9 |  |
|  | ACKNOWLEDGMENTS | 9 |  |
|  | MODULE 1. BASIC THEORY OF THE DC AND AC ELECTRIC CIRCUIT | 10 |  |
| 1 | BASIC THEORY OF THE DC ELECTRIC CIRCUIT | 11 |  |
| 1.1 | Electric current, voltage and power | 11 |  |
| 1.2 | Circuit elements and their V-I characteristics | 14 |  |
| 1.3 | Equivalent scheme displacement for the sources of electrical energy | 18 |  |
| 1.4 | The topology of electrical circuits | 20 |  |
| 1.5 | Resistance and Ohm’s law | 23 |  |
| 1.6 | Tellegen’s theorem. Power balance in electric circuits | 25 |  |
| 1.7 | Kirchhoff’s Laws | 26 |  |
| 1.8 | The potential diagrams | 28 |  |
| 1.9 | The replacement of several parallel branches, containing sources of EMF, to one equivalent | 29 |  |
| 1.10 | Active and passive one-port networks. Equivalent circuits | 31 |  |
| 1.11 | The compensation principle | 31 |  |
| 1.12 | Methods of analyses resistive circuits | 32 |  |
| 1.12.1 | The Kirchhoff’s laws method | 32 |  |
| 1.12.2 | The transformation method (equivalent resistance) | 33 |  |
| 1.12.3 | The loop currents analysis (The mesh currents method) | 37 |  |
| 1.12.4 | The nodal voltage analysis (The nodal potentials method) | 41 |  |
| 1.12.5 | The principle of superposition (The method of overlays) | 43 |  |
| 1.12.6 | Thevenin and Norton Equivalent Circuits (The method of the equivalent generator) | 45 |  |
| 1.13 | Maximum power transfer | 47 |  |
| 2 | BASIC THEORY OF THE AC ELECTRIC CIRCUIT | 50 |  |
| 2.1 | Sinusoids and fasors | 50 |  |
| 2.1.1 | Sinusoids | 51 |  |
| 2.1.2 | Phasors | 54 |  |
| 2.1.3 | Phasor relationships for circuit elements | 58 |  |
| 2.1.4 | Impedance and admittance | 60 |  |
| 2.1.5 | Kirchhoff’s laws in the frequency domain | 62 |  |
| 2.2 | AC power analysis | 63 |  |
| 2.2.1 | Instantaneous and average power | 64 |  |
| 2.2.2 | Effective or rms value | 66 |  |
| 2.2.3 | Apparent power and power factor | 68 |  |
| 2.2.4 | Complex power | 69 |  |
| 2.2.5 | Conservation of AC power | 71 |  |
| 2.3. | Methods of AC circuits analysis | 72 |  |
| 2.4 | Resonance | 80 |  |
| 2.4.1 | Series resonance | 80 |  |
| 2.4.2 | Parallel resonance | 84 |  |
|  | Appendixes | 87 |  |
|  | Appendix A. Systems of units | 87 |  |
|  | Appendix B. Solution of Simultaneous Equations Using Cramer’s Rule | 91 |  |
|  | Appendix C. Complex Numbers | 93 |  |
|  | Bibliography | 97 |  |
|  | Index | 98 |  |