UKRAINE MINISTRY OF SCIENCE AND EDUCATION,

YOUTH AND SPORT

State institution of higher education

NATIONAL MINING UNIVERSITY

Electro energy institute

European Technical Department

KHILOV V.S.

Methodical guidance to practical education of the course

THEORETICAL FUNDAMENTALS OF ELECTRIC ENGINEERING

For the students of the electromechanics and electroenergetics speciality

Part 1 of 3

Module 1

BASIC THEORY OF THE DC AND AC ELECTRIC CIRCUITS

Dnepropetrovsk

NMU

2011

Методичні вказівки до практичних занять з дисципліни “Теоретичні основи електротехніки” (частина 1, модуль 1, “Основи теорії електричних кіл постійного і змінного струмів“) для студентів за напрямами підготовки 6.050702 Електромеханіка, 6.050701  Електротехніка та електротехнології / В.С. Хілов. – Д: Національний гірничий університет, 2011. – 100 с.

Автор: В.С. Хілов, канд. техн. наук, доц.

Затверджено методичною комісією з напряму підготовки 6.050702 Електромеханіка (протокол № 1-10/09 від 17.10.09) за поданням кафедри метрології та інформаційно-вимірювальних технологій (протокол № 4 від 16.05.09).

Відповідальний за випуск директор Інституту електроенергетики О.Б. Іванов, канд. техн. Наук, проф.

Друкується у редакції автора.

Table of Contents PART 1, MODULUSES 1, 2

|  | GENERAL METHODOLOGICAL INSTRUCTIONS TO COMPUTATIVE-GRAPHIC TASKS (Coursework) | 6 |
| --- | --- | --- |
| 1 | DC electric circuits calculation | 11 |
| 1.1 | The parameters calculation of linear DC circuit | 11 |
| 1.2 | The Ohm’s law application for the parameters DC circuit calculation | 12 |
| 1.3 | Kirchhoff’s Laws application for the parameters DC circuit calculation | 13 |
| 1.4 | The nodal potentials method application for the parameters DC circuit calculation. The calculation verification as to the power balance | 14 |
| 1.5 | The method of mesh currents application for the parameters DC circuit calculation. The energy sources conversion | 18 |
| 1.6 | The principle of superposition application for the parameters DC circuit calculation. | 22 |
| 1.7 | The method of the equivalent generator application for the parameters DC circuit calculation. | 24 |
| 1.8 | First personal computative-graphic task. The analysis of laniary DC circuit | 26 |
| 1.9 | The calculation example of first personal computative-graphic task. Linear DC circuit | 33 |
| 1.10 | Tasks for self-control | 41 |
| 2 | DC electric circuits calculation | 49 |
| 2.1 | The parameters calculation of linear single-phase AC circuit | 49 |
| 2.2 | Methods of analysis of the AC circuits | 52 |
| 2.3 | The parameters calculation example of the sinusoidal single phase circuit | 62 |
| 2.4 | Single AC harmonic curcuits tasks for one's own checking | 70 |
| 2.5 | Second personal computative-graphic task. The analysis of laniary DC circuit | 74 |
|  | Appendixes. | 81 |
|  | Appendix A. Systems of units | 81 |
|  | Appendix B. Solution of Simultaneous Equations Using Cramer’s Rule. | 85 |
|  | Appendix C. Complex Numbers. | 88 |
|  | Appendix D. The complex significances calculation of the circuts parameters with using of possibilities microcalculator SCIENTIFIC CALCULATOR. | 90 |
|  | Appendix G. The calculation of the complex values of the AC circuit parameters in stationary regime with using of the possibilities of program MathCard. | 99 |
|  | BIBLIOGRAPHY | 102 |